SECTION 07652

ROOFING UNDERLAYMENTS AND SHEET FLASHING – Seal & Coat™ EiFS Tape

This section is based on the products of MFM Building Products Corp., which is located at:

525 Orange St.

P. O. Box 340

Coshocton, OH 43812

Toll Free Tel:  (800) 882-7663

Tel:  (740) 622-2645

Fax:  (740) 622-6161

Email:  customerservice@mfmbp.com

Web:  http://www.mfmbp.com

{click Here} for additional information.

MFM Building Products was founded in 1961 and has been a leader in manufacturing waterproofing barriers and sealing systems for the construction industry. MFM offers customers a complete “envelope” of waterproofing solutions from the rooftop to the foundation.

MFM product advantages include:  self-adhering or “self-stick” properties; self-sealing around fasteners; unique adhesive systems that will not crack or dry out; membranes that are compatible with most building materials; fast and easy installation to save time and money; competitively priced; rugged and reliable performance; and all products are made in the USA.

Whether your project is new construction, an addition or repair, you can rely on MFM Building Products for the best waterproofing and sealing solutions available. Contact 800-882-7663 or email customerservice@mfmbp.com for more information or pricing.

PART 1  	GENERAL

1.1	SECTION INCLUDES

** NOTE TO SPECIFIER ** Delete items below not required for project.

A.	Window tapes and flashing.

B.	Construction tapes.

1.2	RELATED SECTIONS

** NOTE TO SPECIFIER ** Delete any sections below not relevant to this project; add others as required.

A.	Section 06100 - Rough carpentry.

B.	Section 06112 - Framing and Sheathing.

C.	Section 07311 - Asphalt Shingles.

D.	Section 08100 - Metal Doors and Frames.

E.	Section 08300 - Windows.

F.	Section 08400 - Entrances and Storefronts.

1.3	REFERENCES

** NOTE TO SPECIFIER ** Delete references from the list below that are not actually required by the text of the edited section.

A.	ASTM International:

1.	ASTM D 146 - Standard Test Methods for Sampling and Testing Bitumen-Saturated Felts and Woven Fabrics for Roofing and Waterproofing.

2.	ASTM D 226 - Standard Specification for Asphalt-Saturated Organic Felt Used in Roofing and Waterproofing.

3.	ASTM D 412 - Standard Test Methods for Vulcanized Rubber and Thermoplastic Rubbers and Thermoplastic Elastomers-Tension.

4.	ASTM D 903 - Standard Test Method for Peel or Stripping Strength of Adhesive Bonds.

5.	ASTM D 1970 - Standard Specification for Self-Adhering Polymer Modified Bituminous Sheet Materials Used as Steep Roofing Underlayment for Ice Dam Protection.

6.	ASTM D 2523 - Standard Practice for Testing Loadain Properties of Roofing Membranes.

7.	ASTM D 3767 - Standard Practice for Rubber - Measurement of Dimensions.

8.	ASTM D 5147 - Standard Test Methods for Sampling and Testing Modified Bituminous Sheet Material.

9.	ASTM E 96 - Standard Test Methods for Water Vapor Transmission of Materials.

B.	Florida Building Code:

1.	FL No. 11842.1.

2.	Miami-Dade County Approved - NOA 11-0826.03.

C.	International Code Council - Evaluation Service (ICC-ES):

1.	AC 148 - Acceptance Criteria for Flexible Flashing Materials

2.	ICC-ES ESR 1737 Evaluation Report.

3.	ICC-ES-ESR 2783 Evaluation Report.

1.4	SUBMITTALS

A.	Submit under provisions of Section 01300.

B.	Product Data:  Manufacturer's data sheets on each product to be used, including:

1.	Preparation instructions and recommendations.

2.	Storage and handling requirements and recommendations.

3.	Installation methods.

C.	Shop Drawings:  Submit shop drawings including details of construction and relationship with adjacent construction.

D.	Verification Samples:  For each finish product specified, two samples, minimum size 3 inches (75 mm) x 4 inches (100 mm), representing actual product, color, and patterns.

1.5	QUALITY ASSURANCE

A.	Installer Qualifications:  Experienced in installation of specified material type with working knowledge of specified products and Project specific application requirements.

1.6	DELIVERY, STORAGE, AND HANDLING

A.	Store products in manufacturer's unopened packaging until ready for installation.

B.	Store and dispose of solvent-based materials, and materials used with solvent-based materials, in accordance with requirements of local authorities having jurisdiction.

1.7	PROJECT CONDITIONS

A.	Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results.  Do not install products under environmental conditions outside manufacturer's recommended limits.

1.8	WARRANTY

A.	Limited Warranty:  Tapes and Detail Underlayments.

1.	Manufacturer warrants materials to be free from leaks caused by defects in material or manufacturing for a period of five years from the date of purchase when applied according to published directions.

PART 2  	PRODUCTS

2.1	MANUFACTURERS

A.	Acceptable Manufacturer:  MFM Building Products Corp.; 525 Orange St., Coshocton, OH 43812.  ASD. Toll Free Tel:  (800) 882-7663.  Tel:  (740) 622-2645.  Fax:  (740) 622-6161.  Email:  customerservice@mfmbp.com.  Web:  http://www.mfmbp.com.

** NOTE TO SPECIFIER ** Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

B.	Substitutions:  Not permitted.

C.	Requests for substitutions will be considered in accordance with provisions of Section 01600.

2.2	WINDOW TAPES AND FLASHING

Seal and Coat™ EiFS Tape is a 30 mil, self-adhering waterproofing membrane composed of a polyester fabric laminated to a rubberized asphalt adhesive. The fabric strengthens the material while providing a surface which bonds with most coatings. The adhesive provides a waterproof, self-sealing layer which aggressively sticks to most clean, dry surfaces. It is designed to be used as a waterproofing tape around windows or doors, and taping panel seams, other openings. EiFS Tape is intended to be covered either by stucco, a coating, or by siding and trim. It is not designed for long-term exposure to sunlight.

A.	EIFS Tape:  Seal and Coat™ EIFS Tape as manufactured by MFM Building Products Corp.

** NOTE TO SPECIFIER ** Delete product model numbers, widths not required.

1.	Product Model Numbers:  9 inches (229 mm) wide, MFM 61209.

2.	Product Model Numbers:  6 inches (152 mm) wide, MFM 61206.

3.	Product Model Numbers:  4 inches (102 mm) wide, MFM 61204.

4.	Description:  Self-adhering membrane composed of a polyester fabric laminated to rubberized asphalt adhesive. The fabric strengthens the material while providing a surface which bonds with most coatings. The adhesive provides a waterproof, self-sealing layer which aggressively sticks to most clean, dry surfaces.

5.	Technical Properties:

a.	Material Color:  White.

b.	Material Thickness (ASTM D 3767):  30 mils (0.76 mm) Nominal.

c.	Pliability (ASTM D 1970):  Pass.

d.	Nail Sealability (ASTM D 1970):  Pass.

e.	Tensile MD (ASTM D 1970):  35 lbs/inch (0.62 Kg/mm).

f.	Installation Temperature:  Greater than 40 degrees F (4.4 degrees C).

PART 3  	EXECUTION

3.1	EXAMINATION AND PREPARATION

A.	Inspect and prepare substrates using the methods recommended by the manufacturer for achieving best result for the substrates under project conditions.

B.	Clean surfaces thoroughly prior to installation. Do not proceed with installation until substrates have been prepared using the methods recommended by the manufacturer and deviations from manufacturer’s recommended tolerances are corrected. Commencement of installation constitutes acceptance of conditions.

C.	If preparation is the responsibility of another installer, notify Architect in writing of deviations from manufacturer’s recommended installation tolerances and conditions.

** NOTE TO SPECIFIER ** Delete if not required.

3.2	WALL DETAIL FLASHING INSTALLATION

A.	Install in accordance with manufacturer's instructions.

B.	Window:  Flashing shall be mechanically attached to the window sill plate and two vertical king studs using nails, staples or other mechanical attachment. A continuous bead of sealant shall be applied to the inside surface of the window flange before the window is set into place, making sure that there is a positive seal around the rough opening. The header flashing shall be mechanically attached to the header beam so that the membrane overlaps the outside of the top window flange. Building paper is to be installed so that it overlaps the flashing at the king studs and header, and is tucked under the flashing on the sill and mechanically attached.

** NOTE TO SPECIFIER ** Delete if not required.

3.3	WALL DETAIL SEALING TAPES INSTALLATION

A.	Install in accordance with manufacturer's instructions.

1.	Apply primer to masonry and weathered surfaces prior to application.

2.	Apply adhesive to substrate in colder temperatures to enhance bonding of tape.

** NOTE TO SPECIFIER ** Delete if not required.

B.	Flanged Windows Installation:

1.	Cut a length of tape that is 12 inches (305 mm) wider than the window to install on the sill. Peel back 6inches (152 mm) of the release liner, press tape into place and continue removing release liner. Roll tape surface firmly with a hand roller to activate the adhesive.

2.	Install the window per manufacturer’s instructions.

3.	Cut two lengths of tape for each side of the window approximately 8 inches (203 mm) longer than the height of the window.

4.	Starting at the bottom of the window, overlap the bottom piece of tape about 4 inches (102 mm) and continue up the side of the window covering the flange. Carefully press into place and roll with a hand roller to activate adhesive. Repeat other side.

5.	Cut a length of tape that is at least 12 inches (305 mm) wider than the window. Apply this piece across the top of the window covering each end of the side pieces of tape. Header piece shall be installed directly to the sheathing underneath house wrap.

6.	Tape shall be coated or covered as soon as possible. It shall not be left uncovered for more than 30 days.

7.	When coating with stucco, first apply a light coat of stucco to wet the surface of the tape and then apply more stucco.

** NOTE TO SPECIFIER ** Delete if not required.

C.	Inset Windows Installation:

1.	Cover wooden buck with tape - tape overlaps should be at least 3 inches (76 mm) in a shingle-like manner

2.	Install window per manufacturer’s instructions.

3.	Stucco or other coatings will adhere directly to the tape

** NOTE TO SPECIFIER ** Delete if not required.

D.	Panel Seams Installation:

1.	Start at the bottom and work up - peel back 6 inches to 10 inches (152 mm to 254 mm) of release liner to expose adhesive

2.	Center tape over the seam and press into place.

3.	Roll tape firmly with a hand roller to activate adhesive.

4.	Overlap tape by at least 3 inches (76 mm) in a shingle-like manner

** NOTE TO SPECIFIER ** Delete if not required.

3.4	CONSTRUCTION TAPES

A.	Install in accordance with manufacturer's instructions.

1.	The surface must be clean, smooth, and dry

2.	Use a wire brush and asphalt-based primer or spray adhesive as necessary to obtain proper surface conditions

3.	Carefully unroll membrane, removing release liner and pressing material into place.

4.	For best adhesion, roll the entire surface with a hand roller, focusing particular attention on seams and edges.

5.	Repeat next section allowing 6 inches (152 mm) laps at the ends and 3 inches (152 mm) laps at the sides.

6.	If using multiple sections, install in shingle style to prevent leaks.

3.5	PROTECTION

A.	Protect installed products until completion of project.

B.	Touch-up, repair or replace damaged products before Substantial Completion.

END OF SECTION